## Anexo II

## (Modelo de Proposta de Preços)

## Pregão Eletrônico n.º 11/2016

## Processo nº 3489-01.00/15-7

Razão Social da Pessoa Jurídica: .....................................................................................

CNPJ:	.........................................	Telefone: .........................	Fax: ...................................

Endereço: ................................................	e-mail: ............................................................

| Fornecimento de upgrade do equipamento switch Catalyst 6509 existente, do fabricante Cisco Systems, com todas as partes necessárias para a sua instalação e funcionamento, inclusive switches, módulos, componentes e serviços, conforme especificações descritas a seguir: |
| --- |
| Código Cisco | Descrição | Qtd | Valor Unitário R$ | Valor Total R$ |
| C1-C6807XL-S2T-BUN | Chassis+Fan Tray+ Sup2T+2xPower Supply; IP Services ONLY | 1 |  |  |
| CON-SNT-C6S2TBUN | SMARTNET 8X5XNBD Chas+Fan Tray+ Sup2T+2xPwr Sup; IP Svs | 1 |  |  |
| C1FBPCAT6000S | Cisco ONE Foundation Perpetual Cat6000 Bundle | 1 |  |  |
| CON-ECMU-C1FBPC6S | SWSS UPGRADES C1 Foundation Perpetual Cat6000 Bundle | 1 |  |  |
| C6800-CAMPUS-COLL | Catalyst 6800 Collapsed Campus Core and Distribution | 1 | acompanha C1-C6807XL-S2T-BUN |
| C6807-XL-FAN | Catalyst 6807-XL Chassis Fan Tray | 1 | acompanha C1-C6807XL-S2T-BUN |
| C1-PI-LFAS-4K6K-K9 | Cisco ONE PI Device License for LF & AS for Cat 4k 6k | 1 | acompanha C1-C6807XL-S2T-BUN |
| VS-S2T-10G | Cat 6500 Sup 2T with 2 x 10GbE and 3 x 1GbE with MSFC5 PFC4 | 1 | acompanha C1-C6807XL-S2T-BUN |
| MEM-C6K-INTFL1GB | Internal 1G Compact Flash | 1 | acompanha C1-C6807XL-S2T-BUN |
| MEM-SUP2T-2GB | Catalyst 6500 2GB memory for Sup2T and Sup2TXL | 1 | acompanha C1-C6807XL-S2T-BUN |
| VS-F6K-PFC4 | Cat 6k 80G Sys Daughter Board Sup2T PFC4 | 1 | acompanha C1-C6807XL-S2T-BUN |
| VS-SUP2T-10G | Catalyst 6500 Supervisor Engine 2T Baseboard | 1 | acompanha C1-C6807XL-S2T-BUN |
| S2TISK9Z-15201SY | Cisco CAT6000-VS-S2T IOS IP SERV FULL ENCRYPT | 1 | acompanha C1-C6807XL-S2T-BUN |
| GLC-LH-SMD | 1000BASE-LX/LH SFP transceiver module MMF/SMF 1310nm DOM | 2 |  |  |
| C6800-48P-TX | C6k 48-port 10/100/1000 GE Mod: fabric enabled RJ-45 DFC4 | 1 |  |  |
| WS-C3850-24XU-L | Cisco Catalyst 3850 24 mGig Port UPoE LAN Base | 1 |  |  |
| CON-SNT-WSC3852L | SNTC-8X5XNBD Cisco Catalyst 3850 | 1 |  |  |
| STACK-T1-50CM | 50CM Type 1 Stacking Cable | 1 | acompanha WS-C3850-24XU-L |
| PWR-C1-1100WAC | 1100W AC Config 1 Power Supply | 1 | acompanha WS-C3850-24XU-L |
| S385OULPEK9-37E | CAT3850 LDPE Universal k9 image | 1 | acompanha WS-C3850-24XU-L |
| C3850-NM-4-10G | Cisco Catalyst 3850 4 x 10GE Network Module | 1 |  |  |
| CAB-ACBZ-10ª | AC Power Cord (Brazil) 10A/250V BR-3-10 plug for <10A device | 1 | acompanha WS-C3850-24XU-L |
| CAB-CONSOLE-USB | Console Cable 6 ft with USB Type A and mini-B | 1 |  |  |
| PWR-C1-715WAC/2 | 715W AC Config 1 Secondary Power Supply | 1 |  |  |
| SFP-1OG-SR-S= | 10GBASE-SR SFP Module, Enterprise-Class | 8 |  |  |
| C6800-32P10G | Catalyst 6800 32 port 10GE with integrated dual DFC4 | 1 |  |  |
| WS-X6824-SFP-2T | Catalyst 6500 24-port GigE Mod: fabric-enabled with DFC4 | 1 |  |  |
| GLC-SX-MMD | 1000BASE-SX SFP transceiver module MMF 850nm DOM | 10 |  |  |
| VS-S2T-10G | Cat 6500 Sup 2T with 2 x 10GbE and 3 x 1GbE with MSFC5 PFC4 | 1 |  |  |
| MEM-C6K-INTFL1GB | Internal 1G Compact Flash | 1 | acompanha VS-S2T-10G |
| MEM-SUP2T-2GB | Catalyst 6500 2GB memory for Sup2T and Sup2TXL | 1 | acompanha VS-S2T-10G |
| VS-F6K-PFC4 | Cat 6k 80G Sys Daughter Board Sup2T PFC4 | 1 | acompanha VS-S2T-10G |
| VS-SUP2T-10G | Catalyst 6500 Supervisor Engine 2T Baseboard | 1 | acompanha VS-S2T-10G |
| GLC-LH-SMD | 1000BASE-LX/LH SFP transceiver module MMF/SMF 1310nm DOM | 2 |  |  |
| C6800-XL-3KW-AC | Catalyst 6807-XL 3000W Power Supply | 2 | acompanha C1-C6807XL-S2T-BUN |
| UCSB-CABL-C19-BRZ | NBR 14136 to C19 AC 14FT POWER CORD BRAZIL | 2 | acompanha C1-C6807XL-S2T-BUN |
| WS-F6K-DFC4-A= | Catalyst 6500 Dist Fwd Card DFC4 S | 2 |  |  |
| MEM-XCEF720-1GB | Catalyst 6500 1GB DDR xCEF720 (67xx interface DFC3BXL) | 2 | acompanha WS-F6K-DFC4-A= |
| SFP-10G-SR= | 10GBASE-SR SFP Module | 20 |  |  |
|  | PATCH CORD (6A) F/UTP 12,0 Metros CZ Blindado | 6 |  |  |
|  | CORDAO OPTICO DUPLEX MM 50 LC-UPC/LC-UPC 10.0 M OM3 10 GIGABIT A-B | 14 |  |  |
| Código | Serviços de Migração do Switch Core | 1 |  |  |
| VALOR GLOBAL (R$) ................................ |

Obs.1: as licitantes deverão observar, quando da elaboração de suas respectivas propostas de preços, o valor de referência mencionado no subitem 6.6 do Edital, sob o risco de eventual não homologação do certame, conforme disposições constantes dos subitens 6.6.1 e 6.6.2 deste instrumento convocatório.

Obs.2: as licitantes deverão enviar, junto com a proposta de preços, a declaração referida no subitem 5.5 do Edital, sob o risco de serem sumariamente desclassificadas do certame, conforme disposto no subitem 5.6 deste instrumento convocatório.

Prazo de validade da proposta: ................................................... (mínimo: 60 dias).

Data: [Dia] de [Mês] de 2016.

Nome do representante legal: .......................................................................................

Obs.: a versão original da proposta - a ser encaminhada pela licitante vencedora da disputa de preços, nos termos do subitem 7.23 deste Edital - deverá, ainda, estar assinada pelo representante legal.